## Load Curves - NREL
			item_name	item_category	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20	21	22	23	24
Large Office	Building	Equipment	Large Office - Building - Equipment	NREL	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.8	0.6	0.6	0.5	0.5	0.4	0.4
Large Office	Building	Light	Large Office - Building - Light	NREL	0.05	0.05	0.05	0.05	0.05	0.1	0.1	0.3	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.7	0.5	0.5	0.3	0.3	0.1	0.05
Large Office	Building	Elevator	Large Office - Building - Elevator	NREL	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Large Office	Building	HVAC	Large Office - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Medium Office	Building	Equipment	Medium Office - Building - Equipment	NREL	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.8	0.6	0.6	0.5	0.5	0.4	0.4
Medium Office	Building	Light	Medium Office - Building - Light	NREL	0.05	0.05	0.05	0.05	0.05	0.1	0.1	0.3	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.7	0.5	0.5	0.3	0.3	0.1	0.05
Medium Office	Building	Elevator	Medium Office - Building - Elevator	NREL	0	0	0	0	0	0	0	0.35	0.69	0.43	0.37	0.43	0.58	0.48	0.37	0.37	0.46	0.62	0.12	0.04	0.04	0	0	0
Medium Office	Building	HVAC	Medium Office - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Small Office	Building	Equipment	Small Office - Building - Equipment	NREL	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.5	0.4	0.4	0.4	0.4	0.4	0.4
Small Office	Building	Light	Small Office - Building - Light	NREL	0.05	0.05	0.05	0.05	0.05	0.1	0.1	0.3	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.5	0.3	0.3	0.2	0.2	0.1	0.05
Small Office	Building	HVAC	Small Office - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Midrise Apartment	Building	Elevator	Midrise Apartment - Building - Elevator	NREL	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Midrise Apartment	Apartment	Equipment	Midrise Apartment - Apartment - Equipment	NREL	0.45	0.41	0.39	0.38	0.38	0.43	0.54	0.65	0.66	0.67	0.69	0.7	0.69	0.66	0.65	0.68	0.8	1	1	0.93	0.89	0.85	0.71	0.58
Midrise Apartment	Apartment	Light	Midrise Apartment - Apartment - Light	NREL	0.07	0.07	0.07	0.07	0.19	0.39	0.44	0.39	0.17	0.12	0.12	0.12	0.12	0.12	0.12	0.21	0.44	0.62	0.83	0.99	1	0.69	0.38	0.16
Midrise Apartment	Office	Equipment	Midrise Apartment - Office - Equipment	NREL	0.33	0.33	0.33	0.33	0.33	0.33	0.33	0.5	1	1	1	1	0.94	1	1	1	1	0.5	0.33	0.33	0.33	0.33	0.33	0.33
Midrise Apartment	Office	Light	Midrise Apartment - Office - Light	NREL	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.18	0.18	0.18	0.18	0.18	0.18	0.18
Primary School	Building	Equipment	Primary School - Building - Equipment	NREL	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.35	0.35	0.35	0.35	0.35	0.35	0.35
Primary School	Building	Light	Primary School - Building - Light	NREL	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.18	0.18	0.18
Primary School	Building	HVAC	Primary School - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Primary School	Kitchen	Equipment	Primary School - Kitchen - Equipment	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.15	0.15	0.25	0.25	0.25	0.15	0.15	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1
Primary School	Kitchen	Walk in freezer	Primary School - Kitchen - Walk in freezer	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Primary School	Kitchen	Exhaust	Primary School - Kitchen - Exhaust	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0
Secondary School	Building	Equipment	Secondary School - Building - Equipment	NREL	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.35	0.35	0.35	0.35	0.35	0.35	0.35
Secondary School	Building	Light	Secondary School - Building - Light	NREL	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.18	0.18	0.18
Secondary School	Building	HVAC	Secondary School - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Secondary School	Kitchen	Equipment	Secondary School - Kitchen - Equipment	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.15	0.15	0.25	0.25	0.25	0.15	0.15	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1
Secondary School	Kitchen	Walk in freezer	Secondary School - Kitchen - Walk in freezer	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Secondary School	Kitchen	Exhaust	Secondary School - Kitchen - Exhaust	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0
Retail	Building	Equipment	Retail - Building - Equipment	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.8	0.8	0.7	0.4	0.2	0.2
Retail	Building	Light	Retail - Building - Light	NREL	0.05	0.05	0.05	0.05	0.05	0.05	0.05	0.2	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.5	0.2	0.05	0.05
Retail	Building	HVAC	Retail - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Strip Mall	Building	Equipment	Strip Mall - Building - Equipment	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.8	0.8	0.7	0.4	0.2	0.2
Strip Mall	Building	Light	Strip Mall - Building - Light	NREL	0.05	0.05	0.05	0.05	0.05	0.05	0.05	0.2	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.5	0.2	0.05	0.05
Strip Mall	Building	HVAC	Strip Mall - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Supermarket	Building	Equipment	Supermarket - Building - Equipment	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.8	0.8	0.7	0.4	0.2	0.2
Supermarket	Building	Light	Supermarket - Building - Light	NREL	0.05	0.05	0.05	0.05	0.05	0.05	0.2	0.2	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.5	0.2	0.05	0.05
Supermarket	Building	Walk in freezer	Supermarket - Building - Walk in freezer	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Supermarket	Building	Mutideck Diary and Delicase	Supermarket - Building - Mutideck Diary and Delicase	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.2	0.2	0.2
Supermarket	Building	Glass door frozen food	Supermarket - Building - Glass door frozen food	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.2	0.2	0.2
Supermarket	Building	Open well icecream display case	Supermarket - Building - Open well icecream display case	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.2	0.2	0.2
Supermarket	Building	HVAC	Supermarket - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Full Service Restaurant	Building	Equipment	Full Service Restaurant - Building - Equipment	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.25	0.35	0.35	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25	0.25
Full Service Restaurant	Building	Light	Full Service Restaurant - Building - Light	NREL	0.45	0.15	0.15	0.15	0.15	0.45	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9
Full Service Restaurant	Building	HVAC	Full Service Restaurant - Building - HVAC	NREL	1	0	0	0	0	1	1	1	1	1	1	1	1
Full Service Restaurant	Kitchen	Walk in freezer	Full Service Restaurant - Kitchen - Walk in freezer	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Full Service Restaurant	Kitchen	Exhaust	Full Service Restaurant - Kitchen - Exhaust	NREL	1	0	0	0	0	1	1	1	1	1	1	1	1
Quick Service Restaurant	Building	Equipment	Quick Service Restaurant - Building - Equipment	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.35	0.35	0.25	0.25	0.35	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25
Quick Service Restaurant	Building	Light	Quick Service Restaurant - Building - Light	NREL	0.45	0.15	0.15	0.15	0.15	0.45	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9
Quick Service Restaurant	Building	HVAC	Quick Service Restaurant - Building - HVAC	NREL	1	0	0	0	0	1	1	1	1	1	1	1	1
Quick Service Restaurant	Kitchen	Walk in freezer	Quick Service Restaurant - Kitchen - Walk in freezer	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Quick Service Restaurant	Kitchen	Exhaust	Quick Service Restaurant - Kitchen - Exhaust	NREL	1	0	0	0	0	1	1	1	1	1	1	1	1
Hospital	Building	Elevator	Hospital - Building - Elevator	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.5	0.75	1	1	1	0.75	1	1	1	1	1	0.52	0.52	0.52	0.28	0.2	0.2
Hospital	Building	Light	Hospital - Building - Light	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.3	0.3	0.3	0.3	0.3	0.3	0.3	0.1
Hospital	Building	HVAC	Hospital - Building - HVAC	NREL	1	1	1	1	1	1	1	1
Hospital	Admin	Equipment	Hospital - Admin - Equipment	NREL	0.3	0.3	0.3	0.3	0.5	0.5	1	1	1	1	1	1	1	1	0.5	0.5	0.3	0.3	0.3	0.3
Hospital	Admin	Light	Hospital - Admin - Light	NREL	0.1	0.1	0.1	0.1	0.3	0.3	0.6	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.3	0.3	0.1	0.1
Hospital	Critical	Equipment	Hospital - Critical - Equipment	NREL	0.5	0.5	0.5	0.5	0.5	0.5	1	1	1	1	1	1	1	1	0.8	0.8	0.5	0.5	0.5	0.5
Hospital	Critical	Light	Hospital - Critical - Light	NREL	0.5	0.5	0.5	0.5	0.7	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.7	0.7	0.7	0.7	0.5	0.5
Hospital	Kitchen	Equipment	Hospital - Kitchen - Equipment	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.25	0.35	0.35	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25	0.25
Hospital	Kitchen	Walk in freezer	Hospital - Kitchen - Walk in freezer	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Hospital	Kitchen	Exhaust	Hospital - Kitchen - Exhaust	NREL	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0
Outpatient Health Care	Building	Elevator	Outpatient Health Care - Building - Elevator	NREL	0.05	0.05	0.05	0.05	0.05	0.05	0.05	0.5	0.75	1	1	1	0.75	1	1	1	1	1	0.52	0.52	0.52	0.28	0.05	0.05
Outpatient Health Care	Building	Equipment	Outpatient Health Care - Building - Equipment	NREL	0.3	0.3	0.3	0.3	0.5	0.5	1	1	1	1	1	1	1	1	0.5	0.5	0.3	0.3	0.3	0.3
Outpatient Health Care	Building	Light	Outpatient Health Care - Building - Light	NREL	0.1	0.1	0.1	0.1	0.3	0.3	0.6	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.3	0.3	0.1	0.1
Outpatient Health Care	Building	HVAC	Outpatient Health Care - Building - HVAC	NREL	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0
Outpatient Health Care	Radiology	Equipment	Outpatient Health Care - Radiology - Equipment	NREL	0.01	0.01	0.01	0.01	0.01	0.01	0.96	0.96	0.96	0.96	0.96	0.96	0.96	0.96	0.01	0.01	0.01	0.01	0.01	0.01
Outpatient Health Care	Radiology	HVAC	Outpatient Health Care - Radiology - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0
Large Hotel	Building	Equipment	Large Hotel - Building - Equipment	NREL	0.3	0.25	0.2	0.2	0.2	0.3	0.5	0.6	0.5	0.5	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.7	0.9	0.95	0.9	0.7	0.4
Large Hotel	Building	Light	Large Hotel - Building - Light	NREL	0.2	0.15	0.1	0.1	0.1	0.2	0.4	0.5	0.4	0.4	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.6	0.8	0.9	0.8	0.6	0.3
Large Hotel	Building	Elevator	Large Hotel - Building - Elevator	NREL	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Large Hotel	Building	HVAC	Large Hotel - Building - HVAC	NREL	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1
Large Hotel	Guest Room	Equipment	Large Hotel - Guest Room - Equipment	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.62	0.9	0.43	0.43	0.26	0.26	0.26	0.26	0.26	0.26	0.26	0.51	0.51	0.49	0.66	0.7	0.35	0.2
Large Hotel	Guest Room	Light	Large Hotel - Guest Room - Light	NREL	0.22	0.17	0.11	0.11	0.11	0.22	0.44	0.56	0.44	0.44	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.67	0.89	1	0.89	0.67	0.33
Large Hotel	Laundry Room	Equipment	Large Hotel - Laundry Room - Equipment	NREL	0	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0	0
Large Hotel	Kitchen	Equipment	Large Hotel - Kitchen - Equipment	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.25	0.35	0.35	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25	0.25
Large Hotel	Kitchen	Walk in freezer	Large Hotel - Kitchen - Walk in freezer	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Large Hotel	Kitchen	Exhaust	Large Hotel - Kitchen - Exhaust	NREL	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1
Small Hotel	Building	Equipment	Small Hotel - Building - Equipment	NREL	0.3	0.25	0.2	0.2	0.2	0.3	0.5	0.6	0.5	0.5	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.7	0.9	0.95	0.9	0.7	0.4
Small Hotel	Building	Light	Small Hotel - Building - Light	NREL	0.2	0.15	0.1	0.1	0.1	0.2	0.4	0.5	0.4	0.4	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.6	0.8	0.9	0.8	0.6	0.3
Small Hotel	Building	Elevator	Small Hotel - Building - Elevator	NREL	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Small Hotel	Building	HVAC	Small Hotel - Building - HVAC	NREL	1	1	1	1	1	1	1	1
Small Hotel	Corridoor	Light	Small Hotel - Corridoor - Light	NREL	1	1	1	1	1	1	1	1
Small Hotel	Employee Lounge	Equipment	Small Hotel - Employee Lounge - Equipment	NREL	0.11	0.11	0.11	0.11	0.11	0.19	0.19	0.25	1	1	0.86	0.86	1	0.86	0.86	0.86	0.86	0.86	0.25	0.19	0.11	0.11	0.11	0.11
Small Hotel	Employee Lounge	Light	Small Hotel - Employee Lounge - Light	NREL	0.05	0.05	0.05	0.05	0.05	0.15	0.4	0.5	1	1	1	1	1	1	1	1	0.5	0.4	0.15	0.15	0.05	0.05
Small Hotel	Excercise Room	Equipment	Small Hotel - Excercise Room - Equipment	NREL	0	0	0	0	0	0	0.5	1	1	0.5	0.5	0.5	0	0.5	0.5	0.5	1	0.5	0.5	1	1	0.5	0.5	0
Small Hotel	Excercise Room	Light	Small Hotel - Excercise Room - Light	NREL	0	0	0	0	0	0	0.5	1	1	1	1	1	1	1	1	0.5	0
Small Hotel	Guest Room	Equipment	Small Hotel - Guest Room - Equipment	NREL	0.2	0.2	0.2	0.2	0.2	0.2	0.62	0.9	0.43	0.43	0.26	0.26	0.26	0.26	0.26	0.26	0.26	0.51	0.51	0.49	0.66	0.7	0.35	0.2
Small Hotel	Guest Room	Light	Small Hotel - Guest Room - Light	NREL	0.22	0.17	0.11	0.11	0.11	0.22	0.44	0.56	0.44	0.44	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.67	0.89	1	0.89	0.67	0.33
Small Hotel	Laundry Room	Equipment	Small Hotel - Laundry Room - Equipment	NREL	0	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0	0
Small Hotel	Laundry Room	Light	Small Hotel - Laundry Room - Light	NREL	0	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0
Small Hotel	Meeting Room	Equipment	Small Hotel - Meeting Room - Equipment	NREL	0	0	0	0	0	0	0	0.05	0.54	0.54	0.26	0.26	0.05	0.54	0.54	0.26	0.26	0.26	0.05	0.05	0	0	0	0
Small Hotel	Meeting Room	Light	Small Hotel - Meeting Room - Light	NREL	0	0	0	0	0	0.2	0.3	0.5	1	1	1	1	1	1	1	1	0.5	0.3	0.2	0.05	0	0
Small Hotel	Office	Equipment	Small Hotel - Office - Equipment	NREL	0.33	0.33	0.33	0.33	0.33	0.38	0.38	0.43	0.43	0.43	1	1	0.94	1	1	1	1	0.75	0.63	0.63	0.48	0.48	0.33	0.33
Small Hotel	Office	Light	Small Hotel - Office - Light	NREL	0.5	0.5	0.5	0.5	0.5	0.5	0.5	0.61	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.61	0.5	0.5	0.5	0.5	0.5	0.5
Small Hotel	Storage	Light	Small Hotel - Storage - Light	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2	0.2	0.1	0.1
Warehouse	Building	Equipment	Warehouse - Building - Equipment	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.5	0.8	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.4	0.1	0.1	0.1	0.1	0.1	0.1
Warehouse	Building	Light	Warehouse - Building - Light	NREL	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.4	0.7	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.3	0.1	0.1	0.1	0.1	0.1	0.1
Warehouse	Building	HVAC	Warehouse - Building - HVAC	NREL	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0

## Schedules
Quick Service Restaurant	Building	HVAC	1	0	0	0	0	1	1	1	1	1	1	1	1

Hospital	Building	HVAC	1	1	1	1	1	1	1	1