## Load Curves - NREL
			item_name	item_category	name	name1	0	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20	21	22	23
Large Office	Building	Equipment	Large Office - Building - Equipment	NREL	Large Office - Building - Equipment	Default	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.8	0.6	0.6	0.5	0.5	0.4	0.4
Large Office	Building	Light	Large Office - Building - Light	NREL	Large Office - Building - Light	Default	0.05	0.05	0.05	0.05	0.05	0.1	0.1	0.3	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.7	0.5	0.5	0.3	0.3	0.1	0.05
Large Office	Building	Elevator	Large Office - Building - Elevator	NREL	Large Office - Building - Elevator	Default	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Large Office	Building	HVAC	Large Office - Building - HVAC	NREL	Large Office - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Medium Office	Building	Equipment	Medium Office - Building - Equipment	NREL	Medium Office - Building - Equipment	Default	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.8	0.6	0.6	0.5	0.5	0.4	0.4
Medium Office	Building	Light	Medium Office - Building - Light	NREL	Medium Office - Building - Light	Default	0.05	0.05	0.05	0.05	0.05	0.1	0.1	0.3	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.7	0.5	0.5	0.3	0.3	0.1	0.05
Medium Office	Building	Elevator	Medium Office - Building - Elevator	NREL	Medium Office - Building - Elevator	Default	0	0	0	0	0	0	0	0.35	0.69	0.43	0.37	0.43	0.58	0.48	0.37	0.37	0.46	0.62	0.12	0.04	0.04	0	0	0
Medium Office	Building	HVAC	Medium Office - Building - HVAC	NREL	Medium Office - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Small Office	Building	Equipment	Small Office - Building - Equipment	NREL	Small Office - Building - Equipment	Default	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.5	0.4	0.4	0.4	0.4	0.4	0.4
Small Office	Building	Light	Small Office - Building - Light	NREL	Small Office - Building - Light	Default	0.05	0.05	0.05	0.05	0.05	0.1	0.1	0.3	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.5	0.3	0.3	0.2	0.2	0.1	0.05
Small Office	Building	HVAC	Small Office - Building - HVAC	NREL	Small Office - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Midrise Apartment	Building	Elevator	Midrise Apartment - Building - Elevator	NREL	Midrise Apartment - Building - Elevator	Default	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Midrise Apartment	Apartment	Equipment	Midrise Apartment - Apartment - Equipment	NREL	Midrise Apartment - Apartment - Equipment	Default	0.45	0.41	0.39	0.38	0.38	0.43	0.54	0.65	0.66	0.67	0.69	0.7	0.69	0.66	0.65	0.68	0.8	1	1	0.93	0.89	0.85	0.71	0.58
Midrise Apartment	Apartment	Light	Midrise Apartment - Apartment - Light	NREL	Midrise Apartment - Apartment - Light	Default	0.07	0.07	0.07	0.07	0.19	0.39	0.44	0.39	0.17	0.12	0.12	0.12	0.12	0.12	0.12	0.21	0.44	0.62	0.83	0.99	1	0.69	0.38	0.16
Midrise Apartment	Office	Equipment	Midrise Apartment - Office - Equipment	NREL	Midrise Apartment - Office - Equipment	Default	0.33	0.33	0.33	0.33	0.33	0.33	0.33	0.5	1	1	1	1	0.94	1	1	1	1	0.5	0.33	0.33	0.33	0.33	0.33	0.33
Midrise Apartment	Office	Light	Midrise Apartment - Office - Light	NREL	Midrise Apartment - Office - Light	Default	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.18	0.18	0.18	0.18	0.18	0.18	0.18
Primary School	Building	Equipment	Primary School - Building - Equipment	NREL	Primary School - Building - Equipment	Default	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.35	0.35	0.35	0.35	0.35	0.35	0.35
Primary School	Building	Light	Primary School - Building - Light	NREL	Primary School - Building - Light	Default	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.18	0.18	0.18
Primary School	Building	HVAC	Primary School - Building - HVAC	NREL	Primary School - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Primary School	Kitchen	Equipment	Primary School - Kitchen - Equipment	NREL	Primary School - Kitchen - Equipment	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.15	0.15	0.25	0.25	0.25	0.15	0.15	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1
Primary School	Kitchen	Walk in freezer	Primary School - Kitchen - Walk in freezer	NREL	Primary School - Kitchen - Walk in freezer	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Primary School	Kitchen	Exhaust	Primary School - Kitchen - Exhaust	NREL	Primary School - Kitchen - Exhaust	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0
Secondary School	Building	Equipment	Secondary School - Building - Equipment	NREL	Secondary School - Building - Equipment	Default	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.95	0.35	0.35	0.35	0.35	0.35	0.35	0.35
Secondary School	Building	Light	Secondary School - Building - Light	NREL	Secondary School - Building - Light	Default	0.18	0.18	0.18	0.18	0.18	0.18	0.18	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.18	0.18	0.18
Secondary School	Building	HVAC	Secondary School - Building - HVAC	NREL	Secondary School - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Secondary School	Kitchen	Equipment	Secondary School - Kitchen - Equipment	NREL	Secondary School - Kitchen - Equipment	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.15	0.15	0.25	0.25	0.25	0.15	0.15	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.1
Secondary School	Kitchen	Walk in freezer	Secondary School - Kitchen - Walk in freezer	NREL	Secondary School - Kitchen - Walk in freezer	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Secondary School	Kitchen	Exhaust	Secondary School - Kitchen - Exhaust	NREL	Secondary School - Kitchen - Exhaust	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0
Retail	Building	Equipment	Retail - Building - Equipment	NREL	Retail - Building - Equipment	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.8	0.8	0.7	0.4	0.2	0.2
Retail	Building	Light	Retail - Building - Light	NREL	Retail - Building - Light	Default	0.05	0.05	0.05	0.05	0.05	0.05	0.05	0.2	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.5	0.2	0.05	0.05
Retail	Building	HVAC	Retail - Building - HVAC	NREL	Retail - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Strip Mall	Building	Equipment	Strip Mall - Building - Equipment	NREL	Strip Mall - Building - Equipment	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.8	0.8	0.7	0.4	0.2	0.2
Strip Mall	Building	Light	Strip Mall - Building - Light	NREL	Strip Mall - Building - Light	Default	0.05	0.05	0.05	0.05	0.05	0.05	0.05	0.2	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.5	0.2	0.05	0.05
Strip Mall	Building	HVAC	Strip Mall - Building - HVAC	NREL	Strip Mall - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Supermarket	Building	Equipment	Supermarket - Building - Equipment	NREL	Supermarket - Building - Equipment	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.8	0.8	0.7	0.4	0.2	0.2
Supermarket	Building	Light	Supermarket - Building - Light	NREL	Supermarket - Building - Light	Default	0.05	0.05	0.05	0.05	0.05	0.05	0.2	0.2	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.5	0.2	0.05	0.05
Supermarket	Building	Walk in freezer	Supermarket - Building - Walk in freezer	NREL	Supermarket - Building - Walk in freezer	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Supermarket	Building	Mutideck Diary and Delicase	Supermarket - Building - Mutideck Diary and Delicase	NREL	Supermarket - Building - Mutideck Diary and Delicase	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.2	0.2	0.2
Supermarket	Building	Glass door frozen food	Supermarket - Building - Glass door frozen food	NREL	Supermarket - Building - Glass door frozen food	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.2	0.2	0.2
Supermarket	Building	Open well icecream display case	Supermarket - Building - Open well icecream display case	NREL	Supermarket - Building - Open well icecream display case	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.6	0.2	0.2	0.2
Supermarket	Building	HVAC	Supermarket - Building - HVAC	NREL	Supermarket - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0
Full Service Restaurant	Building	Equipment	Full Service Restaurant - Building - Equipment	NREL	Full Service Restaurant - Building - Equipment	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.25	0.35	0.35	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25	0.25
Full Service Restaurant	Building	Light	Full Service Restaurant - Building - Light	NREL	Full Service Restaurant - Building - Light	Default	0.45	0.15	0.15	0.15	0.15	0.45	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9
Full Service Restaurant	Building	HVAC	Full Service Restaurant - Building - HVAC	NREL	Full Service Restaurant - Building - HVAC	Default	1	0	0	0	0	1	1	1	1	1	1	1	1
Full Service Restaurant	Kitchen	Walk in freezer	Full Service Restaurant - Kitchen - Walk in freezer	NREL	Full Service Restaurant - Kitchen - Walk in freezer	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Full Service Restaurant	Kitchen	Exhaust	Full Service Restaurant - Kitchen - Exhaust	NREL	Full Service Restaurant - Kitchen - Exhaust	Default	1	0	0	0	0	1	1	1	1	1	1	1	1
Quick Service Restaurant	Building	Equipment	Quick Service Restaurant - Building - Equipment	NREL	Quick Service Restaurant - Building - Equipment	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.35	0.35	0.25	0.25	0.35	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25
Quick Service Restaurant	Building	Light	Quick Service Restaurant - Building - Light	NREL	Quick Service Restaurant - Building - Light	Default	0.45	0.15	0.15	0.15	0.15	0.45	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9
Quick Service Restaurant	Building	HVAC	Quick Service Restaurant - Building - HVAC	NREL	Quick Service Restaurant - Building - HVAC	Default	1	0	0	0	0	1	1	1	1	1	1	1	1
Quick Service Restaurant	Kitchen	Walk in freezer	Quick Service Restaurant - Kitchen - Walk in freezer	NREL	Quick Service Restaurant - Kitchen - Walk in freezer	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Quick Service Restaurant	Kitchen	Exhaust	Quick Service Restaurant - Kitchen - Exhaust	NREL	Quick Service Restaurant - Kitchen - Exhaust	Default	1	0	0	0	0	1	1	1	1	1	1	1	1
Hospital	Building	Elevator	Hospital - Building - Elevator	NREL	Hospital - Building - Elevator	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.5	0.75	1	1	1	0.75	1	1	1	1	1	0.52	0.52	0.52	0.28	0.2	0.2
Hospital	Building	Light	Hospital - Building - Light	NREL	Hospital - Building - Light	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.5	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.3	0.3	0.3	0.3	0.3	0.3	0.3	0.1
Hospital	Building	HVAC	Hospital - Building - HVAC	NREL	Hospital - Building - HVAC	Default	1	1	1	1	1	1	1	1
Hospital	Admin	Equipment	Hospital - Admin - Equipment	NREL	Hospital - Admin - Equipment	Default	0.3	0.3	0.3	0.3	0.5	0.5	1	1	1	1	1	1	1	1	0.5	0.5	0.3	0.3	0.3	0.3
Hospital	Admin	Light	Hospital - Admin - Light	NREL	Hospital - Admin - Light	Default	0.1	0.1	0.1	0.1	0.3	0.3	0.6	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.3	0.3	0.1	0.1
Hospital	Critical	Equipment	Hospital - Critical - Equipment	NREL	Hospital - Critical - Equipment	Default	0.5	0.5	0.5	0.5	0.5	0.5	1	1	1	1	1	1	1	1	0.8	0.8	0.5	0.5	0.5	0.5
Hospital	Critical	Light	Hospital - Critical - Light	NREL	Hospital - Critical - Light	Default	0.5	0.5	0.5	0.5	0.7	0.7	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.7	0.7	0.7	0.7	0.5	0.5
Hospital	Kitchen	Equipment	Hospital - Kitchen - Equipment	NREL	Hospital - Kitchen - Equipment	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.25	0.35	0.35	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25	0.25
Hospital	Kitchen	Walk in freezer	Hospital - Kitchen - Walk in freezer	NREL	Hospital - Kitchen - Walk in freezer	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Hospital	Kitchen	Exhaust	Hospital - Kitchen - Exhaust	NREL	Hospital - Kitchen - Exhaust	Default	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0
Outpatient Health Care	Building	Elevator	Outpatient Health Care - Building - Elevator	NREL	Outpatient Health Care - Building - Elevator	Default	0.05	0.05	0.05	0.05	0.05	0.05	0.05	0.5	0.75	1	1	1	0.75	1	1	1	1	1	0.52	0.52	0.52	0.28	0.05	0.05
Outpatient Health Care	Building	Equipment	Outpatient Health Care - Building - Equipment	NREL	Outpatient Health Care - Building - Equipment	Default	0.3	0.3	0.3	0.3	0.5	0.5	1	1	1	1	1	1	1	1	0.5	0.5	0.3	0.3	0.3	0.3
Outpatient Health Care	Building	Light	Outpatient Health Care - Building - Light	NREL	Outpatient Health Care - Building - Light	Default	0.1	0.1	0.1	0.1	0.3	0.3	0.6	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.9	0.6	0.6	0.3	0.3	0.1	0.1
Outpatient Health Care	Building	HVAC	Outpatient Health Care - Building - HVAC	NREL	Outpatient Health Care - Building - HVAC	Default	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0
Outpatient Health Care	Radiology	Equipment	Outpatient Health Care - Radiology - Equipment	NREL	Outpatient Health Care - Radiology - Equipment	Default	0.01	0.01	0.01	0.01	0.01	0.01	0.96	0.96	0.96	0.96	0.96	0.96	0.96	0.96	0.01	0.01	0.01	0.01	0.01	0.01
Outpatient Health Care	Radiology	HVAC	Outpatient Health Care - Radiology - HVAC	NREL	Outpatient Health Care - Radiology - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0
Large Hotel	Building	Equipment	Large Hotel - Building - Equipment	NREL	Large Hotel - Building - Equipment	Default	0.3	0.25	0.2	0.2	0.2	0.3	0.5	0.6	0.5	0.5	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.7	0.9	0.95	0.9	0.7	0.4
Large Hotel	Building	Light	Large Hotel - Building - Light	NREL	Large Hotel - Building - Light	Default	0.2	0.15	0.1	0.1	0.1	0.2	0.4	0.5	0.4	0.4	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.6	0.8	0.9	0.8	0.6	0.3
Large Hotel	Building	Elevator	Large Hotel - Building - Elevator	NREL	Large Hotel - Building - Elevator	Default	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Large Hotel	Building	HVAC	Large Hotel - Building - HVAC	NREL	Large Hotel - Building - HVAC	Default	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1
Large Hotel	Guest Room	Equipment	Large Hotel - Guest Room - Equipment	NREL	Large Hotel - Guest Room - Equipment	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.62	0.9	0.43	0.43	0.26	0.26	0.26	0.26	0.26	0.26	0.26	0.51	0.51	0.49	0.66	0.7	0.35	0.2
Large Hotel	Guest Room	Light	Large Hotel - Guest Room - Light	NREL	Large Hotel - Guest Room - Light	Default	0.22	0.17	0.11	0.11	0.11	0.22	0.44	0.56	0.44	0.44	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.67	0.89	1	0.89	0.67	0.33
Large Hotel	Laundry Room	Equipment	Large Hotel - Laundry Room - Equipment	NREL	Large Hotel - Laundry Room - Equipment	Default	0	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0	0
Large Hotel	Kitchen	Equipment	Large Hotel - Kitchen - Equipment	NREL	Large Hotel - Kitchen - Equipment	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.25	0.35	0.35	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.35	0.35	0.35	0.25	0.25	0.25	0.25	0.25
Large Hotel	Kitchen	Walk in freezer	Large Hotel - Kitchen - Walk in freezer	NREL	Large Hotel - Kitchen - Walk in freezer	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2
Large Hotel	Kitchen	Exhaust	Large Hotel - Kitchen - Exhaust	NREL	Large Hotel - Kitchen - Exhaust	Default	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1
Small Hotel	Building	Equipment	Small Hotel - Building - Equipment	NREL	Small Hotel - Building - Equipment	Default	0.3	0.25	0.2	0.2	0.2	0.3	0.5	0.6	0.5	0.5	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.7	0.9	0.95	0.9	0.7	0.4
Small Hotel	Building	Light	Small Hotel - Building - Light	NREL	Small Hotel - Building - Light	Default	0.2	0.15	0.1	0.1	0.1	0.2	0.4	0.5	0.4	0.4	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.6	0.8	0.9	0.8	0.6	0.3
Small Hotel	Building	Elevator	Small Hotel - Building - Elevator	NREL	Small Hotel - Building - Elevator	Default	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
Small Hotel	Building	HVAC	Small Hotel - Building - HVAC	NREL	Small Hotel - Building - HVAC	Default	1	1	1	1	1	1	1	1
Small Hotel	Corridoor	Light	Small Hotel - Corridoor - Light	NREL	Small Hotel - Corridoor - Light	Default	1	1	1	1	1	1	1	1
Small Hotel	Employee Lounge	Equipment	Small Hotel - Employee Lounge - Equipment	NREL	Small Hotel - Employee Lounge - Equipment	Default	0.11	0.11	0.11	0.11	0.11	0.19	0.19	0.25	1	1	0.86	0.86	1	0.86	0.86	0.86	0.86	0.86	0.25	0.19	0.11	0.11	0.11	0.11
Small Hotel	Employee Lounge	Light	Small Hotel - Employee Lounge - Light	NREL	Small Hotel - Employee Lounge - Light	Default	0.05	0.05	0.05	0.05	0.05	0.15	0.4	0.5	1	1	1	1	1	1	1	1	0.5	0.4	0.15	0.15	0.05	0.05
Small Hotel	Excercise Room	Equipment	Small Hotel - Excercise Room - Equipment	NREL	Small Hotel - Excercise Room - Equipment	Default	0	0	0	0	0	0	0.5	1	1	0.5	0.5	0.5	0	0.5	0.5	0.5	1	0.5	0.5	1	1	0.5	0.5	0
Small Hotel	Excercise Room	Light	Small Hotel - Excercise Room - Light	NREL	Small Hotel - Excercise Room - Light	Default	0	0	0	0	0	0	0.5	1	1	1	1	1	1	1	1	0.5	0
Small Hotel	Guest Room	Equipment	Small Hotel - Guest Room - Equipment	NREL	Small Hotel - Guest Room - Equipment	Default	0.2	0.2	0.2	0.2	0.2	0.2	0.62	0.9	0.43	0.43	0.26	0.26	0.26	0.26	0.26	0.26	0.26	0.51	0.51	0.49	0.66	0.7	0.35	0.2
Small Hotel	Guest Room	Light	Small Hotel - Guest Room - Light	NREL	Small Hotel - Guest Room - Light	Default	0.22	0.17	0.11	0.11	0.11	0.22	0.44	0.56	0.44	0.44	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.28	0.67	0.89	1	0.89	0.67	0.33
Small Hotel	Laundry Room	Equipment	Small Hotel - Laundry Room - Equipment	NREL	Small Hotel - Laundry Room - Equipment	Default	0	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0	0
Small Hotel	Laundry Room	Light	Small Hotel - Laundry Room - Light	NREL	Small Hotel - Laundry Room - Light	Default	0	0	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0
Small Hotel	Meeting Room	Equipment	Small Hotel - Meeting Room - Equipment	NREL	Small Hotel - Meeting Room - Equipment	Default	0	0	0	0	0	0	0	0.05	0.54	0.54	0.26	0.26	0.05	0.54	0.54	0.26	0.26	0.26	0.05	0.05	0	0	0	0
Small Hotel	Meeting Room	Light	Small Hotel - Meeting Room - Light	NREL	Small Hotel - Meeting Room - Light	Default	0	0	0	0	0	0.2	0.3	0.5	1	1	1	1	1	1	1	1	0.5	0.3	0.2	0.05	0	0
Small Hotel	Office	Equipment	Small Hotel - Office - Equipment	NREL	Small Hotel - Office - Equipment	Default	0.33	0.33	0.33	0.33	0.33	0.38	0.38	0.43	0.43	0.43	1	1	0.94	1	1	1	1	0.75	0.63	0.63	0.48	0.48	0.33	0.33
Small Hotel	Office	Light	Small Hotel - Office - Light	NREL	Small Hotel - Office - Light	Default	0.5	0.5	0.5	0.5	0.5	0.5	0.5	0.61	0.9	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.61	0.5	0.5	0.5	0.5	0.5	0.5
Small Hotel	Storage	Light	Small Hotel - Storage - Light	NREL	Small Hotel - Storage - Light	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.2	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.4	0.2	0.2	0.2	0.2	0.1	0.1
Warehouse	Building	Equipment	Warehouse - Building - Equipment	NREL	Warehouse - Building - Equipment	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.5	0.8	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.4	0.1	0.1	0.1	0.1	0.1	0.1
Warehouse	Building	Light	Warehouse - Building - Light	NREL	Warehouse - Building - Light	Default	0.1	0.1	0.1	0.1	0.1	0.1	0.1	0.4	0.7	0.9	0.9	0.9	0.8	0.9	0.9	0.9	0.9	0.3	0.1	0.1	0.1	0.1	0.1	0.1
Warehouse	Building	HVAC	Warehouse - Building - HVAC	NREL	Warehouse - Building - HVAC	Default	0	0	0	0	0	0	1	1	1	1	1	1	1	1	0	0	0	0	0	0	0
Hostel	Building	Equipment	Hostel - Building - Equipment	Miscellaneous	Hostel - Building - Equipment	Default	0.3	0.25	0.2	0.2	0.2	0.3	0.5	0.6	0.5	0.5	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.35	0.7	0.9	0.95	0.9	0.7	0.4
Hostel	Building	Light	Hostel - Building - Light	Miscellaneous	Hostel - Building - Light	Default	0.2	0.15	0.1	0.1	0.1	0.2	0.4	0.5	0.4	0.4	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.25	0.6	0.8	0.9	0.8	0.6	0.3
Hostel	Building	Light	Hostel - Building - Light	Miscellaneous	Hostel - Building - Light	Default	0.05	0.05	0.05	0.05	0.1	0.2	0.4	0.5	0.5	0.35	0.15	0.15	0.15	0.15	0.15	0.15	0.35	0.5	0.5	0.4	0.4	0.3	0.2	0.1
External	Night	Light	External - Night - Light	Miscellaneous	External - Night - Light	Default	1	1	1	1	1	1	1	0	0	0	0	0	0	0	0	1	1	1	1	1	1
External	Solar	Generation	External - Solar - Generation	Miscellaneous	External - Solar - Generation	Default	0	0	0	0	0	0	0	0	0.25	0.55	0.7	0.75	0.8	0.75	0.7	0.55	0.25	0	0	0	0	0	0	0

## Schedules
Quick Service Restaurant	Building	HVAC	1	0	0	0	0	1	1	1	1	1	1	1	1

Hospital	Building	HVAC	1	1	1	1	1	1	1	1